## Slide 1: Overview of Patient Data
Starr Collaboration
Preeya Khanna, 1-6-2015

## Slide 2: Previous Learning Figure s
Errors in p-values
Remedied here!

## Slide 3: Patient 1: May 8, 2015
Good motor cortical signal, clear beta peak: 10-20 Hz
Stim off
Learning with assist  Blocks without assist (gh)
Control with multi-taper method on time domain data
Power Spectral Density of Patients 1-3

## Slide 4: Time to Target Metrics:

## Slide 5: Chance Level for Low and High Targets
No timeout in this task
1000 simulations
Performance is > 70% of chance
performance
Possible explanation for low chance level:
- High variability in cursor movement due to
MTM

## Slide 6: Neural Signal Control during BMI
* p < 0.1, ** p < .05 (ANOVA, KW)

## Slide 7: Z scored Spectrograms during Control

## Slide 8: Patient 2
Power Spectral Density of Patients 1-3
Weakest motor cortical signal, beta peak: 20-30 Hz
Stim ON
Learning with assist  Blocks without lower assist (i)
Control with power channel – time domain channel looks very noisy
  Power Channel Settings: 15 Hz +/- 2.5 Hz, 0.5 Hz HPF

## Slide 9: Time to Target Metrics

## Slide 10: Chance Level for Low and High Targets
No timeout in this task
1000 simulations
Performance is > 99.75 % of chance
performance ( p = 0.0025 )
Patient notes clear movement strategy for top and bottom targets

## Slide 11: Neural Signal Control during BMI
* p < 0.1, ** p < .05 (ANOVA, KW)
Control Signal: Power Channel
Simultaneously Recorded
Time Domain Signal

## Slide 12: Z scored Spectrograms during Control

## Slide 13: Patient 3
Power Spectral Density of Patients 1-3
Weaker motor cortical signal, beta peak: 20-30 Hz
Stim OFF
Learning with assist  Blocks without lower assist
  Decoder 1: ‘df’
  Decoder 2: ‘jk’
Control with time domain channel
  Used welch’s method for spectral analysis
  Used Kalman Filter to estimate cursor position (instead of linear transform)
  Tried CLDA – convergence to minimal cursor movement
Task difference: used only 3 targets
  no bottom target (-6)
  Had target timeout of 15 – 60 sec (block dependent)

## Slide 14: Time to Target Metrics
Decoder 1
Decoder 2

## Slide 15: Chance Level for Decoder 2 (‘jk’ blocks)
60 sec timeout
1000 simulations
Performance is > 100 % of chance
performance ( p = 0.0 )
Indication that even though couldn’t get to the bottom target, that she was trying
All 3 targets
Only Bottom Target

## Slide 16: Neural Signal Control during BMI
* p < 0.1, ** p < .05 (ANOVA, KW)
Simultaneously Recorded
Time Domain Signal Combined Session
Combine df / jk sessions
Looks same for jk session only
Simultaneously Recorded
Time Domain Signal
jk Session

## Slide 17: Z scored Spectrograms during Control
Combine df / jk sessions
Only jk sessions

## Slide 18: Summary
All patients show beta-specific modulation
  Independent of control signal (power channel vs. time domain)
  Independent of stimulation (on vs. off)
  Independent of cursor estimation method (linear estimator or KF)
Patients 2 -3 can do the task well above chance level for extreme targets (middle targets have very low reach times– acquired by chance)
Patient 1 shows significant learning on extreme targets (bottom and top) when assist is off
Look at phase amplitude coupling and then connect to PD therapy?
Overall – selling point is new tool for closed-loop tool
  Currently implanted
Discussion –
  Impact number of people at home
  Link to github
  Citations to MDT – recharge battery, better latency

## Slide 19
Cortical Sensing
Link
Volitional Control of Neural Activity with Visual Feedback
Targ #3 On
Cursor In
Target (+1)
ITI: 1.2s
Custom BMI Game
Targ #1 On
ITI: 1.2s
Timeout
(15 -60 sec)
Point-Scoring Trials
Timeout Trials
Figure 1

## Slide 20
Patient | Home or UCSF | Stim On / Off | Time Domain vs. Power Channel | Beta Freq. Limits | Beta Power Calc. Method | Cursor Prediction
1 | Clinic | Off | Time Domain | 10-20 Hz | Multi-Taper | Linear Reg.
2 | Home | On | Power Channel | 12.5-17.5 Hz | n/a | Linear Reg.
3 | Clinic | On | Time Domain | 20-30 Hz | Welch | Kalman Filter
Beta Band Used for Online Control
Figure 2
Table 1

## Slide 21
Figure 3

## Slide 22
Figure 4

## Slide 23
Time Before Target Acquisition (secs)
Trial averaged spectrograms of neural activity during the neurofeedback task. Trials are taken from periods of no assist (Patient 1) or constant lowest assist used (Patients 2, 3) and aligned to the time of target acquisition (x axis, time = 0 secs). Z-scored spectrograms of neural activity are computed and then averaged over trials. For each spectrogram, the trials to the lowest and highest achieved beta targets are show on the left and right respectively (Patients 1, 2: Targets 1, 4, Patient 3: Targets 2, 4). Finally, the neural input used for control of the cursor is highlighted in a dotted black box for each patient
Patient 1
Patient 2
Patient 3